| EXCAVATION PERMIT |  |  |  |  |  |  | PERMIT NUMBER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| In the event of an emergency, dial 911 from a JPL phone or call the JPL Fire Department at (818) 393-3333. |  |  |  |  |  |  |  |
| PROJECT NAME |  |  |  |  |  |  | DATE |
| TRENCHING/EXCAVATION START DATE |  | TRENCHING/EXCAVATION END DATE |  |  |  |  | DURATION 30 Days |
| PRIME CONTRACTOR |  |  |  | EXCAVATION SUB-CONTRACTOR AND PHONE NUMBER |  |  |  |
| PRIME CONTRACTOR REPRESENTATIVE |  |  |  | PRIME CONTRACTOR REPRESENTATIVE PHONE NO. |  |  |  |
| JPL FACILITIES REPRESENTATIVE |  |  |  | JPL FACILITIES REPRESENTATIVE PHONE NO. |  |  |  |
| DESCRIPTION OF WORK AND LOCATION |  |  |  | Construction Project include applicable drawings. Facilities Project include sketch to indicate depth, length, & width. |  |  |  |
| CALIFORNIA CODE OF REGULATIONS, TITLE 8, SECTION 341. (PERMIT REQUIREMENTS) Cal OSHA Permits are required if the excavation depth is 5 feet or greater and employees are entering. If the excavator does not have a Cal OSHA Annual Permit, then they are required to obtain a Cal OSHA Project Permit in compliance with Title 8, California Code of Regulations (CCR), Section 341 Permits (8CCR341). |  |  |  |  |  |  |  |
| CAL-OSHA Annual Permit Required: CAL-OSHA Project Permit Required: |  |  | Yes Yes | No No |  | (If yes, Permit No.: ) (If yes, Permit No.: ) |  |
| Excavation / Trench Depth: Less than 5 ft. Greater than 5 ft. Greater than 20 ft. |  |  |  |  |  |  |  |
| # Note: If excavation depth is 5 ft or greater, and employees are entering, a soil analysis will be required to determine the appropriate Protective System that will be utilized. If an excavation is less than 5 ft, then the Competent Person on site during trenching and/or excavating activities will verify that a cave-in will not occur (8CCR1541.1). # A Competent Person is required to be on site during work at any depth. |  |  |  |  |  |  |  |
| SOIL ANALYSIS CONTRACTOR | COMPETENT PERSON |  |  |  | SOIL ANALYSIS CONTRACTOR PHONE NO. |  |  |
| SOIL ANALYSIS METHOD UTILIZED |  |  |  |  | NAME OF PROFESSIONAL ENGINEER (if excavation is greater than 20 ft.) |  |  |
| SOIL ANAYSIS RESULTS PROVIDED TO FACILITIES AND OSPO: |  |  | Yes | No |  |  |  |
| CONTRACTOR REVIEWED UTIITY DRAWINGS: |  |  | Yes | No |  |  |  |
| UNDERGROUND UTILITIES IDENTIFIED: |  |  | Yes | No |  | If no, provide explanation: |  |
| INSTRUMENTS UTILIZED TO IDENTIFY UNDERGROUND UTILITIES: |  |  |  | Passive or Active Electromagnetic RF Detector Ground Penetrating Radar Other (provide type): |  |  |  |
| UTILITIES CHECKED BELOW WERE IDENTIFIED, AND MARKED ACCORDINGLY AT THE WORK LOCATION Electrical Water Sewer Compressed Gas Communications Stormwater |  |  |  |  |  |  |  |
| IS PROTECTIVE SHORING SYSTEM REQUIRED: Shoring Shielding Benching Sloping No Applicable |  |  |  |  |  |  |  |

| REVIEWED BY |  |  |
| --- | --- | --- |
| PRINT | SIGN | DATE |
| CONTRACTOR (Required) (Company Name) |  |  |
| SUBMITTED BY |  |  |
| FACILITIES (Required) |  |  |
| EAPO (Required) |  |  |
| OSPO (Required) |  |  |
| NOTE: PERMIT SHALL BE KEPT AT THE WORK LOCATION AT ALL TIMES |  |  |